from the Institute for Neuroscience and Medicine
at the Heinrich Heine University Düsseldorf

# Sensor-based Assessments as a Disease Progression and Treatment Biomarker for Neuropsychiatric Diseases

# Dissertation

# to obtain the academic title of Doctor of Philosophy (PhD) in Medical Sciences

# from the Faculty of Medicine at Heinrich Heine University Düsseldorf

submitted by

# Mehran Sahandi Far

(2023)

„Als Inauguraldissertation gedruckt mit Genehmigung der Medizinischen Fakultät der Heinrich-Heine-Universität Düsseldorf

Gez.:

Dekan: Prof. Dr. med. Nikolaj Klöcker

Gutachter/innen: Prof. Dr. Juergen Dukart, Prof. Dr. Oliver Kuß

# Parts of this work have been accepted and published:

# 1) Sahandi Far, Mehran, Michael Stolz, Jona M. Fischer, Simon B. Eickhoff, and Juergen Dukart. "JTrack: a digital biomarker platform for remote monitoring of daily-life behaviour in health and disease." Frontiers in Public Health 9 (2021): 763621.

# 2) Rentz, Clara, Mehran Sahandi Far, Maik Boltes, Alfons Schnitzler, Katrin Amunts, Juergen Dukart, and Martina Minnerop. "System Comparison for Gait and Balance Monitoring Used for the Evaluation of a Home-Based Training." Sensors 22, no. 13 (2022): 4975.

# 3) Sahandi Far, Mehran, Simon B. Eickhoff, Maria Goni, and Juergen Dukart. "Exploring test-retest reliability and longitudinal stability of digital biomarkers for Parkinson disease in the m-power data set: Cohort study." Journal of Medical Internet Research 23, no. 9 (2021): e26608.

# 4) Goñi, María, Simon B. Eickhoff, Mehran Sahandi Far, Kaustubh R. Patil, and Juergen Dukart. "Smartphone-based digital biomarkers for Parkinson’s disease in a remotely-administered setting." IEEE access 10 (2022): 28361-28384.

## Summary (German)

Der wachsende Trend zur individuellen Gesundheitsversorgung und Digitalisierung im Gesundheitswesen, z.B. mit Hilfe von remote monitoring (Fernüberwachung), hat zu einem verstärkten Interesse an der Verwendung integrierter Sensoren in bspw. Smartphones und Smartwatches, in klinischen Studien geführt. Die von solchen Geräten erfassten gesundheitsbezogenen Daten werden als digitale Biomarker (DB) bezeichnet.  Im Gegensatz zu bisherigen klinischen Evaluationsmethoden liefern DB kostengünstige, objektive und ökologisch valide Daten. Mit Hilfe von DB ist es besser möglich, innerhalb klinischer Studien, eine größere und vielfältigere Population zu untersuchen. Darüber hinaus liefern DB Daten mit hoher zeitlicher und räumlicher Auflösung, was zu einem besseren Verständnis des Krankheitsverlaufs und -fortschritts beitragen kann.

Aufgrund des Mangels an objektiven Bewertungsinstrumenten, stehen neurodegenerative Krankheiten im Fokus der DB-Forschung. Für die Erforschung DB eignet sich die Parkinson Krankheit (PD), hinsichtlich des heterogenen Eintrittsalters, der Symptomprävalenz, der Schweregradprogression und der vielseitigen Symptome besonders gut. Es erscheint notwendig, die Verwendung DB in die klinische Diagnostik von Parkinson zu integrieren. Diese Integration, v.a.  in der  häuslichen Umgebung, stellt jedoch eine praktische Herausforderungen dar. Darüber hinaus ist die longitudinale Stabilität von DB, die innerhalb solcher Umgebungen erhoben wurden, noch nicht ausreichend erforscht worden - bisherige Studien beschränken sich auf Laborsituationen. Ziel dieser Arbeit ist es, Erkenntnisse darüber zu erlangen, wie remote monitoring in einer häuslichen Umgebung in Kombination mit einer Plattform zur Datenerhebung genutzt werden kann, um die Evaluation von Parkinson zu verbessern.

Der erste Teil der Arbeit befasst sich mit der Plattform „JTrack", die für das remote monitoring von Krankheiten entwickelt wurde. „JTrack“ eignet sich dafür, mehrere Aspekte eines Krankheitsbildes zu erfassen und stellt somit ein umfassendes Messinstrument für klinische Studien dar. Zudem wird die Übereinstimmung der mit „JTrack" erfassten Daten mit zwei gängigen stationären Systemen zur Analyse von Gang und Gleichgewicht bewertet, um das Potenzial des Einsatzes von Smartphones und insbesondere von  „JTrack" in künftigen klinischen Studien darzulegen.

Im zweiten Teil wird beschrieben, inwieweit häufig berichtete Merkmale von PD, als Biomarker verwendet werden können. Zu diesem Zweck wurde zunächst die Test-Retest-Zuverlässigkeit und die longitudinale Stabilität dieser Merkmale untersucht. Anschließend wurden Algorithmen des maschinellen Lernens verwendet, um zu bewerten, inwiefern diese Merkmale verwendet werden können, um zwischen PD und gesunden Kontrollprobanden zu unterscheiden. Außerdem wurde der Einfluss verschiedener Störfaktoren wie Komorbiditäten, Alter und Geschlecht auf die Vorhersageleistung der maschinellen Lernalgorithmen untersucht. Dazu wurden verschiedenen Aufgaben (z.B. Gang, Gleichgewicht) der m-Power-Datenbank verwendet, die im unkontrollierten, häuslichen Umfeld von den Patienten durchgeführt und mit Hilfe des remote monitorings erfasst wurden.

Insgesamt werden innerhalb dieser Arbeit die Möglichkeiten und Grenzen der Verwendung von Smartphones für die Diagnose von PD diskutiert. Es werden zudem mögliche beeinflussende Faktoren im Zusammenhang mit DB bei Fern- und selbstverwalteten Erfassungsmethoden dargestellt. Es wird außerdem verdeutlicht, dass kontrolliertere, standardisiertere, empfindlichere und zuverlässigere DB entwickelt werden müssen, bevor sie in klinischen Anwendungen (Apps) eingesetzt werden sollten. Schließlich wird eine neue DB-Plattform für das remote monitoring vorgestellt, die für verschiedene Arten von Krankheiten genutzt werden kann.

## Summary

The growing trend of personalised health care and remote monitoring has led to increased interest in using embedded sensors in portable smart devices (smartphones and smartwatches) in clinical studies. Health-related data collected from such devices are referred to as Digital Biomarkers (DBs).  Unlike traditional in-clinic assessment methods, DBs provide cost-effective, objective, and ecologically valid data. DBs enable clinical studies to recruit a larger and more diverse population. Furthermore, DBs provide high temporal and spatial resolution data, which increase the chance of gaining a comprehensive understanding of disease progression.

Neurodegenerative diseases, due to their lack of accessible and objective assessment tools, have been a primary focus for the DBs research community. Parkinson's disease (PD) is particularly well-suited for studying DBs due to its heterogeneous onset age, symptom prevalence, severity progression rate, and multiple aspects of the disease. Therefore, there is a need to integrate DBs and remote assessment into the routine clinical evaluation of PD. However, using DBs for PD in non-controlled, at-home settings poses practical challenges that have hindered this goal. Additionally, the longitudinal stability of DBs collected in such settings has not yet been thoroughly investigated, with previous studies limited to in-lab settings. Thus, this thesis aims to provide insight into how remote monitoring in an at-home environment alongside the data collection methods can be leveraged to improve the way PD is assessed.

The first section of this dissertation focuses on introducing a platform named "JTrack", designed for remote disease monitoring and to address technical aspects such as security, privacy, modularity, and reusability. This platform aims to provide a comprehensive solution for clinical studies involving multiple aspects of various diseases. In addition, this section assesses the agreement between features collected through "JTrack" with two widely used stationary systems for analysing gait and balance, demonstrating the potential of using smartphones and particularly the "JTrack" platform in future clinical studies.

The second part of this thesis investigates the potential of using various commonly reported features in PD studies as biomarkers. To do this, we first investigate these features' test-retest reliability and longitudinal stability, considering how the timescale may affect their stability. Next, we use various machine learning algorithms to assess the ability of these features to differentiate between PD and HC. Also, we evaluated the influence of different confounding factors such as comorbidities, age, and sex on the prediction performance of the machine learning algorithms. For this, the various tasks (gait, balance, voice, and tapping) of the m-Power database, collected remotely and in a self-managed setting, were investigated.

Overall, this thesis discusses the potential and limitations of using smartphones for remote assessment of PD. It examines the possible sources of confounding factors related to DBs in remote and self-managed collection methods. It also highlights the need to develop more controlled, standardised, sensitive, and reliable DBs before taking them into any clinical application. This thesis also introduces a new DBs platform for remote assessment, which can be leveraged for various types of disease.

## List of Abbreviations

DB			Digital Biomarker

PD			Parkinson's Disease

HC			Healthy Control

GDPR			General Data Protection Regulation

MDS-UPDRS	Movement Disorder Society's Unified Parkinson's Disease Rating Scale

IMU			Inertial Measurement Unit

## Table of Contents

Summary (German)	I

Summary	III

List of Abbreviations	IV

Table of Contents	IV

Introduction	1

Ethics protocols	6

Aims and Organization of this Thesis	6

Paper1: JTrack: A Digital Biomarker Platform for Remote Monitoring of Daily-Life Behavior in Health and Disease	9

Paper2: System Comparison for Gait and Balance Monitoring Used for the Evaluation of a Home-Based Training	10

Paper3: Exploring Test-Retest Reliability and Longitudinal Stability of Digital Biomarkers for Parkinson's Disease in the m-Power Data Set: Cohort Study	11

Paper4: Smartphone-Based Digital Biomarkers for Parkinson's Disease in a Remotely Administered Setting	12

General Discussion	13

Conclusion and future direction	16

Reference	18

Acknowledgement

## Introduction

The challenges (e.g., time constrain, accessibility, cost, limited availability, and in-frequent visits) associated with current in-clinic visit assessment methods have motivated the development of novel disease assessment techniques using sensor-embedded smart devices. Various sensors have recently been incorporated into wearables and smartphones. This rich combination of built-in sensors, processing power, wireless connection capability, and customisable applications opens the door to collecting objective and quantifiable health-related data. The data acquired via smart devices in clinical studies are referred to as digital biomarkers (DBs) (1–3). DBs can provide cost-effective, objective, and ecologically valid health-related data. Furthermore, real-time longitudinal data collection from a larger population allows a better understanding of disease evolution and variation between individuals.

In clinical trials, two major deployment models for DBs can be outlined. The first, consists of samples obtained in a controlled environment, for example, a clinical or movement laboratory, using devices designed for this particular purpose (4,5). The second approach brings together commercially accessible hardware (such as smartphones and smartwatches) with custom applications to be used in loosely controlled and self-administrated in-home settings (6–8). The main benefit of the second approach is the capacity to monitor patients in (near) real-time remotely and for extended periods of time, such as months and years. Additionally, smartphones are practical tools for crowdsourcing due to their widespread use. Although there are already many platforms designed for at-home disease monitoring (9–13), the majority of them have several shortcomings, including a lack of memory and energy optimisation, an easy-to-use user interface, security, and privacy, and a lack of availability in official application distribution stores. One of the main challenges posed by these platforms is maintaining the confidentiality of the collected data (14), which is consistently targeted in cyberattacks. Therefore, it is strongly recommended that no identifying information be collected (or use proper anonymising and encryption methods) in the first place. Another challenge is the large amount of data generated, which requires the creation of efficient data storage and streaming methods, not only at the device level but also at the storage endpoint. Smartphones often have limited internal storage capacity and access to low-cost (free) connectivity, so it is important to have automatic synchronisation strategies to maximise memory usage efficiency.

Additionally, the flexible and modular design of DBs platforms to accommodate a wide variety of sensor types is another key feature that should not be overlooked. These platforms should allow researchers and clinicians to easily add or remove different types of sensors (data sources). However, most of the existing platforms are designed to focus on a specific aspect of a disease, which negatively affects their reusability and flexibility. Nevertheless, there is a gap between the tools available and needed for this purpose, which motivated us to introduce our platform, "JTrack".

DBs have been used in the assessment of various diseases, from heart disease and diabetes to cancers and chronic pain. In particular, DBs have been extensively used to measure and monitor the progression of certain neurodegenerative disorders, such as Parkinson's Disease (PD), one of the very well-suited neurodegenerative diseases for DBs studies (6). Given different aspects of the disease such as motor, speech, and sensory disturbances which are highly heterogeneous across patients and disease stages (15), remote monitoring in PD is a powerful way to better understand the feasibility of deploying such methods as a complement to traditional in-clinic visits (6,16).

PD is the second most prevalent neurodegenerative disorder of the elderly, involving approximately 9.4 million people over the age of 60 worldwide in 2020 (17). This complex progressive movement disease is essentially characterised by motor signs, such as muscle rigidity, rest tremor, akinesia, and postural instability (18). However, diverse non-motor symptoms, including sleep disorders, psychiatric disorders, and sensory disturbances are also present in PD (18,19).

PD is classically characterised by a gradual loss of dopaminergic neurons in the substantia nigra, a region of the midbrain responsible for movement control, as well as an abnormal accumulation of Alpha-synuclein (α-synuclein) aggregates called Lewy bodies, which blocks dopamine's production and transmission, and subsequent loss of dopamine in the striatum (20–22). Nevertheless, increasing evidence has apparently shown that PD is a multisystem disorder and the substantia nigra is not the only or the first brain region damaged in PD. The degenerative process in PD is much more extensive that affects the whole nervous system (21,23).

From a neuropathological point of view, while the motor symptoms of PD are mainly attributed to the degeneration of dopaminergic neurons in the nigrostriatal system, the non-motor symptoms such as sleep abnormality, loss of smell, depression, and mood disorders are associated with a start of α-synuclein aggregates beyond the nigrostriatal dopaminergic system (21,24). Furthermore, the symptomatic phase of PD, which is mainly characterised by the above-mentioned motor symptoms, is not evident until approximately 60–70% of dopaminergic neurons in the substantia nigra have already degenerated (25), whereas the prodromal stage of the disease is often characterised by non-motor symptoms which may precede the appearance of characteristic motor symptoms by several years (21).

The exact aetiology of PD is unknown to date, but several genetic risk factors have now been characterised, which cause a rare familial form of PD (26). There is also some evidence that environmental factors (i.e., viruses and bacteria, toxic chemicals, heavy metals, and free radicals) may cause the deterioration of dopamine-producing neurons, leading to the development of PD, although the role of these remains unclear (27). Furthermore, recent studies suggest that viral or chemical exposure may cause inflammation in the olfactory system and gut leading to the initial α-synuclein misfolding, aggregation, and propagation to the brain (28).

Treatment of PD predominantly focuses on symptomatic relief with drugs aiming to either restore the level of dopamine in the striatum or to act on dopamine receptors (19,20). Although many other drugs are also being used to target specific symptoms, the non-motor symptoms of PD often go unrecognised and therapeutic management of these symptoms remains challenging, negatively impacting patients' quality of life (19).

Finally, PD is one of the world's fastest-growing neurological disorders, yet much is unknown about its current global economic burden. The direct and indirect burden of PD is estimated to exceed $79 billion in the US by 2037 (for an estimated 1.6 million patients) (29). The prevalence of PD increases with age, which is considered the most significant risk factor for the development and progression of PD (27). This means that society and the economy will be confronted with severe challenges as the proportion of older people in the total population continues to rise over the coming decade. Therefore, taking new approaches for early diagnosis and accurate interventions and monitoring the progression is needed to improve the efficiency and accuracy of treatments in patients suffering from PD.

Despite the recent interest and novel approaches to facilitate the diagnosis of PD, there are still insufficient biomarkers to assist this process. The frequently used methods often rely on in-clinic visits and subjective evaluation of patients combining clinician-rated systems such as the Movement Disorder Society's Unified Parkinson's Disease Rating Scale (MDS-UPDRS) and self-reported information (30,31). These in-person visits are limited in terms of travel distance and distribution of specialised physicians and professional healthcare personnel which are often expensive and inaccessible to most people. Furthermore, the quality and quantity of observations that these approaches produce are frequently inadequate, and they also have a strong potential for a large degree of inter- and intra-rater variability (8,32,33). In addition, they are affected by several different recall biases, which can introduce errors and limit the usefulness of findings based on these reports (34). Nevertheless,  these restrictions result in poor diagnostic accuracy for PD, particularly in the early stages of the disease, and this continues to be a significant impediment to patient care (35).

Digital sensors such as Inertial Measurement Unit (IMU) have been widely used for motion analysis and are the most frequently used sensor in PD studies (33). Due to the fact that a large number of motor-UPDRS questions are directly related to particular gait and postural instability symptoms, this domain has received the most attention from IMU sensor-based research. Unlike more complex methods such as walking carpets, IMU sensors provide high-resolution data with low cost and ease of use.

Most of the research on DBs for PD focuses on discovering features that can differentiate between PD and Healthy Control (HC) and correlating these features to clinical scores such as the MDS-UPDRS. In addition, it is desired to have clinically accepted and interpretable features that can also identify symptom severity and medication state (on/off) (for a detailed review see (33)).

In this regard, features such as the number and symmetry of steps, gait speed, cadence, gait variability, and freezing of gait are among the most frequently reported features for gait analysis (5,36–44). The jerkiness of posture, high-frequency power, and total distance moved are among the features extracted for postural instability assessment (38,45–48). Other features extracted from frequency and spatiotemporal-related aspects of a signal are also reported frequently.

IMU sensors are also frequently used to analyse tremor-related symptoms, and features such as temporal and frequency domain-related features, entropy, root mean square, and signal amplitude are widely reported (2,4,49–51). IMU sensors, combined with touchscreens, are also commonly used to assess bradykinesia-related symptoms and the most common features are the number of taps, speed of tap, and temporal variability of taps as frequency domain-oriented features (49,50,52). In excess of motor symptoms, voice dysfunction is a frequently reported symptom related to PD (53) that may be caused by the rigidity or bradykinesia of the laryngeal muscles in PD that can result in several abnormalities, including reduced voice volume, breathy voice, poor articulation, jerky speech, and incomplete glottic closure. (53–56). The embedded microphone in smartphones makes voice assessment simple nowadays and features such as Mel-Frequency-Cepstral-Coefficients, Harmonics-to-Noise-Ratio, shimmer, and jitter are among the features that different researchers have reported (15,54,57–61).

Several tasks are designed to aid the objective assessment of PD symptoms using smartphones, such as spirography, sway task, tapping task, and Time-Up-and-Go (TUG). These tasks can also be used with passive monitoring of daily activities, which does not require user interaction with an application. Passive data collection may provide comprehensive insights into PD symptoms through features such as daily activity, time-in-bed, and the number of sit-to-stand transitions (62,63). However, passive monitoring approaches also necessitate the investigation of advanced algorithms to remove a substantial amount of noise and classify huge amounts of unlabelled data (64).

The use of digital sensors in clinical settings has demonstrated their feasibility in objectively assessing PD symptoms (2). However, the majority of these studies were conducted in a controlled in-clinic environment with a small cohort size (6), which limits the diversity of the study cohort in terms of disease stages and severity of symptoms. Moreover, these studies often lack longitudinal data with higher temporal resolution. Age and disease duration are the two major timescales that affect PD's clinical manifestation (17), and longitudinal studies of PD, particularly in those who do not yet exhibit any motor symptoms but only pre-motor symptoms, would play a key role in gaining a more accurate insight of disease course and onset. To address these issues and move toward personalised health, it is necessary to shift toward using at-home and self-managed data collection methods in longitudinal studies with large and diverse populations.

However, many sources of variability can influence the validity and reliability of DBs, leading to invalid results and hindering the interpretation and translation of clinical trials. These sources of variability include sensor-level (measurement) variability (i.e., recording frequency, placement, quality, etc.) and individual-level variability (i.e., gender, medication, disease manifestation, etc.). The use of at-home-based data collection introduces an additional source of variabilities, such as selection bias, the effect of learning and motivation, the inclusion of multiple recordings for each participant, and the ability to follow instructions (6,65). Furthermore, there is still a lack of clarity on whether the impact of these variations remains the same throughout the course of the disease or whether they have varying effects. When taking into consideration the heterogeneous character of PD, this challenge also receives an additional layer of difficulty (64). In addition, the impact of these variabilities when using the machine learning approaches investigated in automated PD classification—which may result in overly optimistic results—has not been addressed properly thus far.

To address these open questions and examine the concepts introduced above, the m-Power dataset, assessed outside of clinical environments in self-administered settings, is being investigated (66).

## Ethics protocols

The ethics protocols were approved by the Ethics Committee of Heinrich Heine University Düsseldorf (Studien-Nr.: 2020-1077-andere Forschung erstvotierend

Comparison of passive monitoring and self-reported social behaviour using smartphone based assessments), And the ethics committee of the Psychology faculty of the Heinrich Heine University Düsseldorf. (DU01-2021-01).

## Aims and Organization of this Thesis

Due to the shortcomings and difficulties of current in-clinic visits, there is currently an active interest in leveraging DBs obtained from smartphones and wearable technology in the remote assessment of diseases like PD. These biomarkers can be used to classify diseases or assess the severity of their symptoms, and at-home assessment methods aim to maximise ecological validity and provide improved insight into disease progress and onset (67). Thus, in this thesis, I aim to contribute to this field by pursuing the following steps. First, I introduce a reusable and open-source platform to collect research-grade context-driven data while prioritising privacy and security concerns. Second, in a collaboration project, we assessed the agreement of data collected from this platform with advanced stationary platforms (force plate and motion capture systems), which are accepted as the gold standard for motion analysis. Third, I evaluated the longitudinal sensitivity and test-retest reliability of commonly reported features extracted from the m-Power dataset—the remote study of PD in a self-administrated at-home protocol and then assessed if the longitudinal behaviour of these potential DBs differed between disease groups and if this fluctuation was related to disease or other confounding factors that may have had a contribution. Finally, we investigated these potential DBs to evaluate the sensitivity and specificity of different machine learning algorithms on the differentiation of PD from HC and what and how confounding factors affect this performance.

The following articles were published as part of my doctoral work and represent the main structure of this dissertation.

Study 1: In the first study, I addressed and aimed to fill the gap in the trade-off between privacy, optimisation, stability, and research-grade data quality that were not well met in previously introduced platforms where we're able to collect context-driven data. In this study, the "JTrack" platform was introduced as a single solution for digital phenotyping. "JTrack" comprises a smartphone application and an online dashboard enabling remote data collection and study management. It gives a flexible and modular environment for collecting sensor and smartphone usage data, with privacy and General Data Protection Regulation (GDPR) compliance as top priorities.

Study 2: In this study, we assessed the feasibility of using smartphones for gait and balance analysis. In this context, we examined the agreement between gait and balance features derived using smartphones and two widely used stationary gait analysis systems (e.g., force plate and motion capture systems) that are considered the gold standard in this field. In particular, we intend to assess the viability of adopting smartphone-based gait and balance studies in lieu of advanced techniques designed for laboratory use.

Study 3: The third study was devoted to investigating the longitudinal stability and test-retest reliability of various features extracted in Study 4. Despite its importance, little attention has been paid to evaluating the test-retest reliability and longitudinal stability of DBs in a loosely controlled self-administered setting. Therefore, in this study, I invested different sources of variation in the long-term performance of DBs such as the repetition, learning, and medication effects.

Study 4:  In this study, we investigated various features derived from common tasks (i.e., gait, balance, voice, tapping) of the m-Power database performed in a self-administered setting for a remote assessment of PD. In this context, we have evaluated the specificity and sensitivity of various machine learning algorithms in differentiating PD and HC. We subsequently explored the influence of different confounding variables such as age, sex, and comorbidities on the classification performance for each task and the combination of all tasks.

## Paper1: JTrack: A Digital Biomarker Platform for Remote Monitoring of Daily-Life Behavior in Health and Disease

Mehran Sahandi Far1,2, Michael Stolz1, Jona M. Fischer1, Simon B Eickhoff1,2, Juergen Dukart1,2

1Institute of Neuroscience and Medicine, Brain & Behaviour (INM-7), Research Centre Jülich, Jülich, Germany

2Institute of Systems Neuroscience, Medical Faculty, Heinrich Heine University Düsseldorf, Düsseldorf, Germany

Corresponding Author:

Juergen Dukart, PhD
Institute of Neuroscience and Medicine, Brain & Behaviour (INM-7) Research Centre Jülich
Wilhelm-Johnen-Strasse
Jülich, 52425
Germany
Phone: 49 1632874330
Fax: 49 2461611880
Email: juergen.dukart@gmail.com

Published in: Front. Public Health, 19 November 2021
Sec. Digital Public Health 
Volume 9 - 2021 | https://doi.org/10.3389/fpubh.2021.763621

Own contributions

Writing the manuscript, preparing figures, developing smartphone applications, contributing to the design of the experiment, writing analysis code, statistical data analysis, and contributing to the interpretation of results. Total contribution 80%

## Paper2: System Comparison for Gait and Balance Monitoring Used for the Evaluation of a Home-Based Training

Clara Rentz1, Mehran Sahandi Far2,3, Maik Boltes4, Alfons Schnitzler5,6, Katrin Amunts1,7, Juergen Dukart2,3 and Martina Minnerop1,5,6

1 Institute of Neuroscience and Medicine (INM-1), Research Centre Jülich, 52428 Jülich, Germany

2Institute of Neuroscience and Medicine, Brain & Behaviour (INM-7), Research Centre Jülich, 52428 Jülich, Germany

3 Institute of Systems Neuroscience, Medical Faculty, Heinrich-Heine University Duesseldorf, 40225 Duesseldorf, Germany

4 Institute for Advanced Simulation (IAS-7), Research Centre Jülich, 52428 Jülich, Germany

5Department of Neurology, Centre for Movement Disorders and Neuromodulation, Medical Faculty, Heinrich-Heine University Düsseldorf, 40225 Düsseldorf, Germany

6Institute of Clinical Neuroscience and Medical Psychology, Medical Faculty, Heinrich-Heine University Duesseldorf, 40225 Duesseldorf, Germany

7Institute for Brain Research, Medical Faculty, University Hospital Duesseldorf, Duesseldorf, Germany

Corresponding Author:

Clara Rentz

Heinrich-Heine University Düsseldorf, 40225

Published in: Sensors 2022, 22(13), 4975.

https://doi.org/10.3390/s22134975

Own contributions

Development of the Android-based application. Contributing to analysis and feature extraction from smartphone data and statistical data analysis and contributing to the interpretation of results. Total contribution 25%

## Paper3: Exploring Test-Retest Reliability and Longitudinal Stability of Digital Biomarkers for Parkinson's Disease in the m-Power Data Set: Cohort Study

Mehran Sahandi Far1,2, Simon B Eickhoff1,2, Maria Goni1,2*, Juergen Dukart1,2

1Institute of Neuroscience and Medicine, Brain & Behaviour (INM-7), Research Centre Jülich, Jülich, Germany

2Institute of Systems Neuroscience, Medical Faculty, Heinrich Heine University Düsseldorf, Düsseldorf, Germany

Corresponding Author:

Juergen Dukart, PhD
Institute of Neuroscience and Medicine, Brain & Behaviour (INM-7) Research Centre Jülich
Wilhelm-Johnen-Strasse
Jülich, 52425
Germany
Phone: 49 1632874330
Fax: 49 2461611880
Email: juergen.dukart@gmail.com

Published in: Journal of Medical Internet Research 2021 Sep; 23(9): e26608.

https://doi.org/10.2196%2F26608

Own contributions

Writing the manuscript, preparing figures, contributing to the design of the experiment, writing analysis code, statistical data analysis, and contributing to the interpretation of results. Total contribution 80%

## Paper4: Smartphone-Based Digital Biomarkers for Parkinson's Disease in a Remotely Administered Setting

Maria Goni1,2, Simon B Eickhoff1,2, Mehran Sahandi Far1,2, Kaustubh R Patil1,2, Juergen Dukart1,2

1Institute of Neuroscience and Medicine, Brain & Behaviour (INM-7), Research Centre Jülich, Jülich, Germany

2Institute of Systems Neuroscience, Medical Faculty, Heinrich Heine University Düsseldorf, Düsseldorf, Germany

Corresponding Author:

Juergen Dukart, PhD
Institute of Neuroscience and Medicine, Brain & Behaviour (INM-7) Research Centre Jülich
Wilhelm-Johnen-Strasse
Jülich, 52425
Germany
Phone: 49 1632874330
Fax: 49 2461611880
Email: juergen.dukart@gmail.com

Published in: IEEE Access, vol. 10, pp. 28361-28384, 2022,

https://doi.org/10.1109/ACCESS.2022.3156659

Own contributions

Contributing and giving input on analyses, Own contribution 10%

General Discussion

DBs collected using smart devices are a promising tool for accurate, continuous, and unobstructed monitoring of PD symptoms in patients' daily life. Nonetheless, for DBs to be successfully implemented in clinical settings, it is crucial to establish an open-source infrastructure, standardised evaluation pipelines, and the development of reliable DBs. In a series of manuscripts, I addressed some of the known major challenges in this context, and in the following section, I discuss the key outcomes.

The primary objective of the work presented in the first manuscript was to develop an open-source, modular platform for digital phenotyping with a focus on privacy and security (68). The resulting solution, "JTrack", was developed based on these criteria to facilitate unobstructed and remote sensor-based psychiatric and neurological disorders monitoring. At the same time, it addresses the major shortcomings of existing platforms. "JTrack" complies with GDPR security and privacy regulations, making it trustworthy and available through official application stores (Google Play and Apple Store). This is in contrast to some evaluated platforms that lack this level of trust and security as they rely on online distribution methods.

Additionally, "JTrack" reduces the impact of technical failures and missing data through optimal battery and memory use. Lastly, while the motor manifestations of neurodegenerative diseases, particularly PD, are the most studied, the non-motor manifestations are barely studied using remote monitoring methods, owing to the difficulty of collecting and integrating relative modules in current platforms. In this regard, the modular architecture and reusability functionalities of "JTrack" enable the researchers to easily add or remove their required features from a list of collected data.

In the second manuscript (68), we compared "JTrack" with two stationary gait analysis systems (a force plate and a motion capture system). We found a high level of agreement between data collected from single accelerometer sensors using the "JTrack" application and stationary analysis systems, demonstrating the utility of smartphones in future clinical studies of gait. We have shown that features such as stride time and cadence variables, clinically meaningful outcomes of locomotor tasks, can be accurately derived from smartphones and used in a normal-gait analysis. However, we came to the conclusion that measuring in particular stance variables has limitations, such as the need for initial calibration or a device's fixed orientation and position in the reference recording.

The DBs are inherently prone to different sources of variation. Recent studies that have demonstrated the feasibility of using DBs in PD have mainly focused on in-laboratory settings, therefore, validation and reliability studies are still lacking for home environments. In the third manuscript (69), we addressed this issue by evaluating the test-retest reliability and longitudinal stability of DBs for PD as measured in a large-scale m-Power study using a self-administered setting (66). We observed a significant change in the longitudinal performance of most DBs, resulting in poor differentiation between PD and HC. We attributed this finding to the presence of differential learning and variation in motivation between the two groups. Motivation and learning effects are two barely studied sources of confounds that impact the longitudinal stability of DBs. Although learning has been identified as a crucial factor that can influence a participant's performance over time (70–72), the effect of motivation on DBs' reliability remains understudied. Our study found evidence for both aspects, highlighting the need for an investigation that explores the effect of motivation alteration and how it differs from learning effects. We also noted that a decrease in motivation could impact adherence to the study, as evidenced by the limited records of most participants during the course of the study in the m-Power dataset.

Initial investigation of the m-Power dataset indicates that using the self-administration enrolment method may lead to several biases, such as the recruitment of younger and healthier subjects. This may be explained by the recruitment restrictions of m-power (owning an iPhone, speaking English, and residing in the United States) targeting a young and healthy population with a higher smartphone adaptation rate (73). Therefore, demographic factors such as age, technological savvy (primarily among the elderly), and socioeconomic status may influence the profile of participation in smartphone-based remote monitoring programs. Hence, it is crucial to consider selection bias in such research.

Additionally, the data collected from participants' self-reports may introduce several biases stemming from incorrect data entry. The ability to follow or understand instructions required for completing tasks is another concept that can be a source of bias.  This is more pronounced for complex tasks such as gait and balance. Task instructions such as "take ten steps and turn around" and "start walking for ten steps after you hear a beep sound" may be misunderstood or entirely ignored by the participants. This effect was observed in the m-Power dataset, where many participants had shorter signal lengths or held devices in the wrong positions. In addition, the results of the third manuscript show a smaller effect size and poor reliability for these tasks. (6,74). It suggests that additional supplemental materials, such as audio counselling or video tutorials, during or before such tasks could help participants complete them.

The real-time and longitudinal nature of remote monitoring approaches makes them an excellent complement to patient recall for the estimation of treatment effect evaluation, with the potential to be utilised in personalised and precision medicine. However, our results indicate that the majority of extracted DBs were not sensitive enough to different treatment conditions. One potential explanation is the presence of confounding factors such as the absence of accurate treatment reporting time, treatment type, dosage, and disease severity that must all be considered. Thus, there is a need for more sensitive DBs in a remote and self-administered context as well as carefully constructed settings and evaluation procedures in this response.

Upon further inspection of manuscripts published using the m-Power data set, it became clear that there was a vast divergence of outcomes from different groups. One of the most potential explanations for this disparity is the lack of a standard pipeline for analysis, standardised benchmarks, performance measures, and neglect of confounding factors. Therefore, in the fourth manuscript (75), we investigated these confounding factors and their influence on the performance of machine learning methods.

Different machine learning algorithms search for particular trends and patterns in the data, and it's possible that a single algorithm may not be the optimal solution for all datasets or use cases. Thus, comprehensive experiments and the assessment of multiple machine-learning algorithms are required. We show this principle in the fourth paper by comparing the performances of different machine-learning algorithms. We also show that different sources of confounding factors can lead to over or underfitting results, which is consistent with previous research (58,76).

Considering that PD is a complex disease affecting many health domains, using a single task or a limited number of features could be another reason for the discrepancy in previous studies. Therefore, considering multiple aspects such as sleep behaviour, genotyping, and mood tracking to extract more reliable DBs may increase the performance of machine learning methods in differentiating PD from non-PD groups (15).

The large volume of data collected from smartphones typically consists of repeated measurements from a participant. The assignment of repeated measures from the same individual (record-wise) to training and test sets is a common practice in machine learning methods. However, this potentially misleads the algorithm into learning the unique feature associated with a subject resulting in a very optimistic performance. Thus to avoid this, it is recommended to use subject-wise data separation rather than record-wise. (65,77).  Finally, the outcome of the fourth manuscript suggests that the lack of considering the above-mentioned factors could lead to a lack of reproducibility and generalizability in the results.

## Conclusion and future direction

In conclusion, in this thesis, I have highlighted the potential of using DBs in clinical studies, enabling a diverse range of research and clinical applications such as disease monitoring and diagnosis. I also pointed out that developing successful assessment tools require close collaboration between medical professionals, analytical experts, computer engineers, and legal experts, which cannot be achieved without a broad management operation. Therefore, the availability of an open-source and modular platform enables clinicians and researchers to incorporate such a tool into their studies quickly. In addition, concerns such as privacy, performance, security, and data ownership are among the fundamental factors that have the potential to influence this partnership. Therefore, tools should be most sensitive to these issues.

I also showed that the reliability (test-retest) and longitudinal stability of DBs extracted in an unsupervised manner is a major challenge regarding their clinical use. The complexity of self-administered and at-home protocols, along with factors such as environmental changes, loss of motivation, age and gender differences, and the influence of comorbidities, are factors that can cause DBs to become unstable over time, which have not been well addressed in previous studies. Therefore, more comprehensive mechanisms for the development and analysis of DBs collected under these conditions, as well as the development of more reliable DBs, need to be addressed in future studies. Also, study participation and adherence are other critical challenges associated with uncontrolled protocols, improved study protocols and using intelligent notification combined with passive monitoring methods may improve this issue.

Finally, before the widespread deployment of DBs technologies in clinical practice, remote assessment platforms need to be upgraded to be compatible with various operating systems and devices. Integrating innovative embedded sensors and wearable devices should also be implemented in future updates of DB platforms. In addition, combining behavioural data with sensor-based data is among the things that may reveal more information about the disease.

## Reference

1. 	Insel TR. Digital phenotyping: technology for a new science of behavior. JAMA. 2017 Oct 3;318(13):1215–6.

2. 	Lipsmeier F, Taylor KI, Kilchenmann T, Wolf D, Scotland A, Schjodt-Eriksen J, et al. Evaluation of smartphone-based testing to generate exploratory outcome measures in a phase 1 Parkinson’s disease clinical trial. Mov Disord. 2018 Aug;33(8):1287–97.

3. 	Coravos A, Khozin S, Mandl KD. Developing and adopting safe and effective digital biomarkers to improve patient outcomes. npj Digital Med. 2019 Mar 11;2(1).

4. 	Patel S, Lorincz K, Hughes R, Huggins N, Growdon J, Standaert D, et al. Monitoring motor fluctuations in patients with Parkinson’s disease using wearable sensors. IEEE Trans Inf Technol Biomed. 2009 Nov;13(6):864–73.

5. 	Sejdić E, Lowry KA, Bellanca J, Redfern MS, Brach JS. A comprehensive assessment of gait accelerometry signals in time, frequency and time-frequency domains. IEEE Trans Neural Syst Rehabil Eng. 2014 May;22(3):603–12.

6. 	Omberg L, Chaibub Neto E, Perumal TM, Pratap A, Tediarjo A, Adams J, et al. Remote smartphone monitoring of Parkinson’s disease and individual response to therapy. Nat Biotechnol. 2022 Apr;40(4):480–7.

7. 	Zhan A. High Frequency Remote Monitoring of Parkinson’s Disease via Smartphone: Platform Overview and Medication Response Detection. CoRR. 2016;

8. 	Prince J, Arora S, de Vos M. Big data in Parkinson’s disease: using smartphones to remotely detect longitudinal disease phenotypes. Physiol Meas. 2018 Apr 26;39(4):044005.

9. 	Hossain SM, Hnat T, Saleheen N, Nasrin NJ, Noor J, Ho B-J, et al. mCerebrum: A Mobile Sensing Software Platform for Development and Validation of Digital Biomarkers and Interventions. Proc Int Conf Embed Netw Sens Syst. 2017 Nov;2017.

10. 	Ranjan Y, Rashid Z, Stewart C, Kerz M, Begale M, Verbeeck D, et al. RADAR-base: An Open Source mHealth Platform for Collecting, Monitoring and Analyzing data Using Sensors, Wearables, and Mobile Devices (Preprint). 2018 Aug 29;

11. 	Ferreira D, Kostakos V, Dey AK. AWARE: mobile context instrumentation framework. Front ICT. 2015 Apr 20;2(6):1–9.

12. 	Torous J, Kiang MV, Lorme J, Onnela J-P. New tools for new research in psychiatry: A scalable and customizable platform to empower data driven smartphone research. JMIR Ment Health. 2016 May 5;3(2):e16.

13. 	Wang X, Vouk N, Heaukulani C, Buddhika T, Martanto W, Lee J, et al. HOPES: an integrative digital phenotyping platform for data collection, monitoring, and machine learning. J Med Internet Res. 2021 Mar 15;23(3):e23984.

14. 	Baran SW, Bratcher N, Dennis J, Gaburro S, Karlsson EM, Maguire S, et al. Emerging role of translational digital biomarkers within home cage monitoring technologies in preclinical drug discovery and development. Front Behav Neurosci. 2021;15:758274.

15. 	Deng K, Li Y, Zhang H, Wang J, Albin RL, Guan Y. Heterogeneous digital biomarker integration out-performs patient self-reports in predicting Parkinson’s disease. Commun Biol. 2022 Jan 17;5(1):58.

16. 	Stephenson D, Badawy R, Mathur S, Tome M, Rochester L. Digital progression biomarkers as novel endpoints in clinical trials: A multistakeholder perspective. J Parkinsons Dis. 2021 Feb 11;

17. 	Estimation of the 2020 Global Population of Parkinson’s Disease (PD) - MDS Abstracts [Internet]. [cited 2022 Jul 4]. Available from: https://www.mdsabstracts.org/abstract/estimation-of-the-2020-global-population-of-parkinsons-disease-pd/

18. 	Jankovic J. Parkinson’s disease: clinical features and diagnosis. J Neurol Neurosurg Psychiatry. 2008 Apr;79(4):368–76.

19. 	Bang Y, Lim J, Choi HJ. Recent advances in the pathology of prodromal non-motor symptoms olfactory deficit and depression in Parkinson’s disease: clues to early diagnosis and effective treatment. Arch Pharm Res. 2021 Jun 19;44(6):588–604.

20. 	Zhu B, Yin D, Zhao H, Zhang L. The immunology of Parkinson’s disease. Semin Immunopathol. 2022 Jun 8;

21. 	Obeso JA, Rodriguez-Oroz MC, Goetz CG, Marin C, Kordower JH, Rodriguez M, et al. Missing pieces in the Parkinson’s disease puzzle. Nat Med. 2010 Jun;16(6):653–61.

22. 	Venda LL, Cragg SJ, Buchman VL, Wade-Martins R. α-Synuclein and dopamine at the crossroads of Parkinson’s disease. Trends Neurosci. 2010 Dec;33(12):559–68.

23. 	Rouaud T, Corbillé AG, Leclair-Visonneau L, de Guilhem de Lataillade A, Lionnet A, Preterre C, et al. Pathophysiology of Parkinson’s disease: Mitochondria, alpha-synuclein and much more…. Rev Neurol. 2021 Mar;177(3):260–71.

24. 	Farrer M, Kachergus J, Forno L, Lincoln S, Wang D-S, Hulihan M, et al. Comparison of kindreds with parkinsonism and alpha-synuclein genomic multiplications. Ann Neurol. 2004 Feb;55(2):174–9.

25. 	Dauer W, Przedborski S. Parkinson’s disease: mechanisms and models. Neuron. 2003 Sep 11;39(6):889–909.

26. 	Gasser T. Update on the genetics of Parkinson’s disease. Mov Disord. 2007 Sep;22 Suppl 17:S343-50.

27. 	Hindle JV. Ageing, neurodegeneration and Parkinson’s disease. Age Ageing. 2010 Mar;39(2):156–61.

28. 	Lema Tomé CM, Tyson T, Rey NL, Grathwohl S, Britschgi M, Brundin P. Inflammation and α-synuclein’s prion-like behavior in Parkinson’s disease--is there a link? Mol Neurobiol. 2013 Apr;47(2):561–74.

29. 	Yang W, Hamilton JL, Kopil C, Beck JC, Tanner CM, Albin RL, et al. Current and projected future economic burden of Parkinson’s disease in the U.S. npj Parkinsons Disease. 2020 Jul 9;6:15.

30. 	Dorsey ER, Papapetropoulos S, Xiong M, Kieburtz K. The first frontier: digital biomarkers for neurodegenerative disorders. Digit Biomark. 2017 Dec;1(1):6–13.

31. 	Goetz CG, Tilley BC, Shaftman SR, Stebbins GT, Fahn S, Martinez-Martin P, et al. Movement Disorder Society-sponsored revision of the Unified Parkinson’s Disease Rating Scale (MDS-UPDRS): scale presentation and clinimetric testing results. Mov Disord. 2008 Nov 15;23(15):2129–70.

32. 	Zhan A, Little MA, Harris DA, Abiola SO, Dorsey ER, Saria S, et al. High Frequency Remote Monitoring of Parkinson’s Disease via Smartphone: Platform Overview and Medication Response Detection. arXiv. 2016 Jan 5;

33. 	Rovini E, Maremmani C, Cavallo F. How wearable sensors can support parkinson’s disease diagnosis and treatment: A systematic review. Front Neurosci. 2017 Oct 6;11:555.

34. 	Solhan MB, Trull TJ, Jahng S, Wood PK. Clinical assessment of affective instability: comparing EMA indices, questionnaire reports, and retrospective recall. Psychol Assess. 2009 Sep;21(3):425–36.

35. 	Adler CH, Beach TG, Hentz JG, Shill HA, Caviness JN, Driver-Dunckley E, et al. Low clinical diagnostic accuracy of early vs advanced Parkinson disease: clinicopathologic study. Neurology. 2014 Jul 29;83(5):406–12.

36. 	Hausdorff JM. Gait dynamics in Parkinson’s disease: common and distinct behavior among stride length, gait variability, and fractal-like scaling. Chaos. 2009 Jun;19(2):026113.

37. 	Schlachetzki JCM, Barth J, Marxreiter F, Gossler J, Kohl Z, Reinfelder S, et al. Wearable sensors objectively measure gait parameters in Parkinson’s disease. PLoS One. 2017 Oct 11;12(10):e0183989.

38. 	Horak FB, Mancini M. Objective biomarkers of balance and gait for Parkinson’s disease using body-worn sensors. Mov Disord. 2013 Sep 15;28(11):1544–51.

39. 	Rampp A, Barth J, Schülein S, Gaßmann K-G, Klucken J, Eskofier BM. Inertial sensor-based stride parameter calculation from gait sequences in geriatric patients. IEEE Trans Biomed Eng. 2015 Apr;62(4):1089–97.

40. 	Cho Y-S, Jang S-H, Cho J-S, Kim M-J, Lee HD, Lee SY, et al. Evaluation of Validity and Reliability of Inertial Measurement Unit-Based Gait Analysis Systems. Ann Rehabil Med. 2018 Dec 28;42(6):872–83.

41. 	Cancela J, Pastorino M, Arredondo MT, Nikita KS, Villagra F, Pastor MA. Feasibility study of a wearable system based on a wireless body area network for gait assessment in Parkinson’s disease patients. Sensors (Basel). 2014 Mar 7;14(3):4618–33.

42. 	San-Segundo R, Torres-Sánchez R, Hodgins J, De la Torre F. Increasing robustness in the detection of freezing of gait in parkinson’s disease. Electronics. 2019 Jan 22;8(2):119.

43. 	Bächlin M, Plotnik M, Roggen D, Maidan I, Hausdorff JM, Giladi N, et al. Wearable assistant for Parkinson’s disease patients with the freezing of gait symptom. IEEE Trans Inf Technol Biomed. 2010 Mar;14(2):436–46.

44. 	Blin O, Ferrandez AM, Serratrice G. Quantitative analysis of gait in Parkinson patients: increased variability of stride length. J Neurol Sci. 1990 Aug;98(1):91–7.

45. 	Prieto TE, Myklebust JB, Hoffmann RG, Lovett EG, Myklebust BM. Measures of postural steadiness: differences between healthy young and elderly adults. IEEE Trans Biomed Eng. 1996 Sep;43(9):956–66.

46. 	Martinez-Mendez R, Sekine M, Tamura T. Postural sway parameters using a triaxial accelerometer: comparing elderly and young healthy adults. Comput Methods Biomech Biomed Engin. 2012;15(9):899–910.

47. 	Palakurthi B, Burugupally SP. Postural instability in parkinson’s disease: A review. Brain Sci. 2019 Sep 18;9(9).

48. 	Foreman KB, Sondrup S, Dromey C, Jarvis E, Nissen S, Dibble LE. The effects of practice on the concurrent performance of a speech and postural task in persons with Parkinson disease and healthy controls. Parkinsons Dis. 2013 Jun 11;2013:987621.

49. 	Mahadevan N, Demanuele C, Zhang H, Volfson D, Ho B, Erb MK, et al. Development of digital biomarkers for resting tremor and bradykinesia using a wrist-worn wearable device. npj Digital Med. 2020 Jan 15;3:5.

50. 	Cancela J, Pastorino M, Tzallas AT, Tsipouras MG, Rigas G, Arredondo MT, et al. Wearability assessment of a wearable system for Parkinson’s disease remote monitoring based on a body area network of sensors. Sensors (Basel). 2014 Sep 16;14(9):17235–55.

51. 	Palmerini L, Rocchi L, Mellone S, Valzania F, Chiari L. Feature selection for accelerometer-based posture analysis in Parkinson’s disease. IEEE Trans Inf Technol Biomed. 2011 May;15(3):481–90.

52. 	Aghanavesi S, Nyholm D, Senek M, Bergquist F, Memedi M. A smartphone-based system to quantify dexterity in Parkinson’s disease patients. Informatics in Medicine Unlocked. 2017;9:11–7.

53. 	Ma A, Lau KK, Thyagarajan D. Voice changes in Parkinson’s disease: What are they telling us? J Clin Neurosci. 2020 Feb;72:1–7.

54. 	Chiaramonte R, Bonfiglio M. Acoustic analysis of voice in Parkinson’s disease: a systematic review of voice disability and meta-analysis of studies. Rev Neurol. 2020 Jun 1;70(11):393–405.

55. 	Tracy JM, Özkanca Y, Atkins DC, Hosseini Ghomi R. Investigating voice as a biomarker: Deep phenotyping methods for early detection of Parkinson’s disease. J Biomed Inform. 2020 Apr;104:103362.

56. 	Little MA, McSharry PE, Roberts SJ, Costello DAE, Moroz IM. Exploiting nonlinear recurrence and fractal scaling properties for voice disorder detection. Biomed Eng Online. 2007 Jun 26;6:23.

57. 	Skodda S, Grönheit W, Mancinelli N, Schlegel U. Progression of voice and speech impairment in the course of Parkinson’s disease: a longitudinal study. Parkinsons Dis. 2013 Dec 10;2013:389195.

58. 	Schwab P, Karlen W. PhoneMD: Learning to Diagnose Parkinson’s Disease from Smartphone Data. AAAI. 2019 Jul 17;33:1118–25.

59. 	Arora S, Venkataraman V, Zhan A, Donohue S, Biglan KM, Dorsey ER, et al. Detecting and monitoring the symptoms of Parkinson’s disease using smartphones: A pilot study. Parkinsonism Relat Disord. 2015 Jun;21(6):650–3.

60. 	Prince J, Andreotti F, De Vos M. Multi-Source Ensemble Learning for the Remote Prediction of Parkinson’s Disease in the Presence of Source-Wise Missing Data. IEEE Trans Biomed Eng. 2019;66(5):1402–11.

61. 	Tsanas A, Little MA, McSharry PE, Ramig LO. Nonlinear speech analysis algorithms mapped to a standard metric achieve clinically useful quantification of average Parkinson’s disease symptom severity. J R Soc Interface. 2011 Jun 6;8(59):842–55.

62. 	Cheng W-Y, Scotland A, Lipsmeier F, Kilchenmann T, Jin L, Schjodt-Eriksen J, et al. Human Activity Recognition from Sensor-Based Large-Scale Continuous Monitoring of Parkinson’s Disease Patients. 2017 IEEE/ACM International Conference on Connected Health: Applications, Systems and Engineering Technologies (CHASE). IEEE; 2017. p. 249–50.

63. 	Kabelac Z, Tarolli CG, Snyder C, Feldman B, Glidden A, Hsu C-Y, et al. Passive monitoring at home: A pilot study in parkinson disease. Digit Biomark. 2019 Apr 30;3(1):22–30.

64. 	Roussos G, Herrero TR, Hill DL, Dowling AV, L T M Müller M, Evers LJW, et al. Identifying and characterising sources of variability in digital outcome measures in Parkinson’s disease. npj Digital Med. 2022 Jul 15;5(1):93.

65. 	Chaibub Neto E, Pratap A, Perumal TM, Tummalacherla M, Snyder P, Bot BM, et al. Detecting the impact of subject characteristics on machine learning-based diagnostic applications. npj Digital Med. 2019 Oct 11;2:99.

66. 	Bot BM, Suver C, Neto EC, Kellen M, Klein A, Bare C, et al. The mPower study, Parkinson disease mobile data collected using ResearchKit. Sci Data. 2016 Mar 3;3:160011.

67. 	Espay AJ, Bonato P, Nahab FB, Maetzler W, Dean JM, Klucken J, et al. Technology in Parkinson’s disease: Challenges and opportunities. Mov Disord. 2016 Sep;31(9):1272–82.

68. 	Rentz C, Far MS, Boltes M, Schnitzler A, Amunts K, Dukart J, et al. System Comparison for Gait and Balance Monitoring Used for the Evaluation of a Home-Based Training. Sensors (Basel). 2022 Jun 30;22(13).

69. 	Sahandi Far M, Eickhoff SB, Goni M, Dukart J. Exploring Test-Retest Reliability and Longitudinal Stability of Digital Biomarkers for Parkinson Disease in the m-Power Data Set: Cohort Study. J Med Internet Res. 2021 Sep 13;23(9):e26608.

70. 	Olson M, Lockhart TE, Lieberman A. Motor learning deficits in parkinson’s disease (PD) and their effect on training response in gait and balance: A narrative review. Front Neurol. 2019 Feb 7;10:62.

71. 	Krebs HI, Hogan N, Hening W, Adamovich SV, Poizner H. Procedural motor learning in Parkinson’s disease. Exp Brain Res. 2001 Dec;141(4):425–37.

72. 	Behrman AL, Cauraugh JH, Light KE. Practice as an intervention to improve speeded motor performance and motor learning in Parkinson’s disease. J Neurol Sci. 2000 Mar;174(2):127–36.

73. 	Demographics of Mobile Device Ownership and Adoption in the United States | Pew Research Center [Internet]. [cited 2022 Dec 14]. Available from: https://www.pewresearch.org/internet/fact-sheet/mobile/

74. 	Badawy R, Raykov YP, Evers LJW, Bloem BR, Faber MJ, Zhan A, et al. Automated quality control for sensor based symptom measurement performed outside the lab. Sensors (Basel). 2018 Apr 16;18(4).

75. 	Goñi M, Eickhoff S, Far MS, Patil K, Dukart J. Limited diagnostic accuracy of smartphone-based digital biomarkers for Parkinson’s disease in a remotely-administered setting. medRxiv. 2021 Jan 15;

76. 	Neto EC, Pratap A, Perumal TM, Tummalacherla M, Bot BM, Mangravite L, et al. Using permutations to assess confounding in machine learning applications for digital health. arXiv. 2018;

77. 	Saeb S, Lonini L, Jayaraman A, Mohr DC, Kording KP. The need to approximate the use-case in clinical machine learning. Gigascience. 2017 May 1;6(5):1–9.

## Acknowledgement

This dissertation could not have been written without the assistance of several people to whom I am greatly indebted.

I would like to express my gratitude to my direct supervisor PD. Dr Juergen Dukart for his guidance, support, and encouragement throughout my study. I would like to express my appreciation to Prof. Dr Simon B. Eickhoff for all his helpful and kind supervision. I greatly appreciate Prof. Dr Oliver Kuß for his support and guidance.

I would also like to thank all the co-authors of my papers, without whom this effort could not have been completed. In addition, I would like to thank the committee members of my thesis defence for their insightful feedback.

I would like to acknowledge the funding sources for my projects: The Human Brain Project, supported by the European Union's Horizon 2020 Framework Program for Research and Innovation under Specific Grant Agreement No. 785907. (Human Brain Project SGA2).

Finally, I also thank the Research Centre Jülich for providing all financial and computational resources and all Institute of Neuroscience and Medicine, Brain & Behaviour (INM-7) members for all the support and good time we shared.