## Slide 1: Polarimetry of pulsed H−/D− ion beams: Extended applicability of the Lamb-shift polarimeter
Simon J. Pütz
With
T. El-Kordy, R. Engels, n. faatz,
R. Gebel, k. grigoryev, c. kannis, y. valdau

## Slide 2: COSY and polarized and ion beams
The COSY source at FZJ provides polarized 𝑯− and 𝑫− ion beams
Before stripping injection, beam polarization must be determined and optimized
Low Energy Polarimeter (LEP)
 requires pre-acceleration with a cyclotron (45 MeV)
Notes: Here you can see where the experiments took place
The projects goal was to improve the research conditions at the COSY facility in Jülich
Can conduct experiments to investigate spin dependent phenomena in nuclear physics

## Slide 3: COSY and polarized and ion beams
Alternative: Performing the polarization measurement with a Lamb-shift polarimeter directly at the source
Notes: - COSY Facility

## Slide 4: COSY and polarized and ion beams
a
Page 4
Advantages of LSP:
  Parallel operation of experiments with unpolarized beams
  Increase time and energy efficiency
Notes: Here: Height difference made it quite complicated and hard to have nice beam conditions but we had no other choice – so three factors which made it hard, pulsed, H^- and rather complicated beamline

## Slide 5: theory
Effective Hamiltonian:
Nuclear spin polarization:
  Comparison of rel. occupation numbers of particles with and
Breit-Rabi diagram and beam polarization
n=1
n=2
2S1/2
2P1/2

## Slide 6: Experimental setup
Polarized ion source (Colliding beam source)
Pulsed ion beam:
keV
Hz
ms
Charge exchange reaction
n=1

## Slide 7: Experimental setup
Lamb-shift polarimeter
BSF
2S1/2
Spin filter B-field [mT]
PMT signal [photons/s]

## Slide 8: Cs temperature scan
a
  Protons:
  For protons, optimal temperature is about 160 °C, efficiency 0.1
  H
  Measurement for H- showed even further increase for higher temperatures
  Limitations due to vacuum seal material
For H- : Cs + H- -> ?? -> H2S1/2 + Cs + e-

## Slide 9: Proof of principle 2020
a
Resolution is not good enough
Data analysis is required post measurement which makes “live-tuning” impossible
 New data acquisition system

## Slide 10: Polarization measurements - Improved
a

## Slide 11: Polarization measurements – Run 2
a

## Slide 12: Polarization measurements – precision
a
Run 2
Run 1
Statistical uncertainties for the beam polarization Pz as a measure to compare both acquisition systems
After 3 sweeps, the improved method shows a smaller uncertainty than the first method after 30
Polarization value Pz could be determined with uncertainty of

## Slide 13: Polarization measurements – sequence
a
Background behavior

## Slide 14: Polarization measurements – sequence
a
AVERAGE EACH STEP

## Slide 15: Polarization measurements – sequence
a
SWEEP AFTER SWEEP

## Slide 16: Summary
      The developed setup is useful for pol. sources of the COSY type to optimize polarization automatically without pre-acceleration
      The work demonstrates the universality of the Lamb-shift polarimeter for all forms of appearance of hydrogen and its isotopes of H(D), H+(D+), H2(D2, HD), H2+ (D2+ , HD+) and H3+
      Spectrum with 50 data points and 10 averages within 16 min (), after 30 averages the uncertainty dropped to (continuous beam )
Notes: Moreover New idea: As onur presented there is a possibility to polarize molecules with the help of a storage cell. This leads to a new idea for polarized ion source for stripping injecting storage rings